ADDENDUM

Peoria Park District                                                                            ADDENDUM NO.      ONE

Planning, Design and Construction Department

1314 N. Park Road                                                                             PROJECT TITLE:        Sanitary Line for Future

Peoria, IL  61604 								  Restroom

Telephone:  (309) 686-3386

ISSUANCE DATE: 05/12/26

LOCATION:       Laura Bradley Park

The proposed Contract Documents for this Work are modified as follows:

- GENERAL INFORMATION:

N/A

II.	DRAWINGS:

N/A

III.	PROJECT MANUAL/SPECIFICATIONS.:

- The following pipe material is an allowable substitution for directionally drilled sanitary sewer:

  - AWWA C900, DR 18, PC 235, with ASTM D3139 Integral Bell Restrained Joint Pipe and ASTM F477 Gaskets (Certa-Lok)

- For thermally fused joints, excessive joint materials (beads) shall be removed in accordance with GPSD specifications.

- Sand may be used as a backfill material.

IV.	INVITATION TO BID:

N/A

END OF ADDENDUM NO. 1

(Addendum may be bound into Project Manual, attached to front cover, faxed, mailed, emailed or delivered to bidders.)

Addendum No. 1

Page 1 of 1